Please Note:

This template is intended for educational purposes only, without any express or implied warranty of any kind, including warranties of accuracy, completeness, or fitness for any particular purpose.  You agree that your use of the template is without any recourse whatsoever to PG&E, SCE, SDG&E, or their affiliates. The template is a draft, and anyone using this document should seek the advice of an attorney to develop appropriate ordinance language to meet its jurisdiction’s specific needs, as state and local laws may differ.

This document is the product of a collaborative effort, incorporating input and feedback from several entities and experts based on their collective experiences.

Please contact the Codes and Standards Reach Codes Team at info@LocalEnergyCodes.com for additional information.

This program is funded by California utility customers and administered by Pacific Gas and Electric Company, San Diego Gas & Electric Company (SDG&E®), and Southern California Edison Company under the auspices of the California Public Utilities Commission and in support of the California Energy Commission.

Version Tracking

| Date | Version # | Description of Changes |
| --- | --- | --- |
| 9/19/2025 | 1.0 | Original Release |

Introduction

This is a customizable template for completing a staff report for an existing single family reach code that includes the Flexible Compliance Path (FlexPath), electric readiness, and cool roofs. Blue in-line text needs customization - things like dates, local legislation, staff, and ordinance-specific references for your customized reach code. Complete these sections to customize this staff report to reflect your local context and reach code.

[DATE]

FROM: 	[Department Head Name, Title]

[Other Contributor(s), Title]

SUBJECT:	Energy POLICY FOR SINGLE FAMILY residential additions and alterations

Recommendation

Adopt an ordinance and related findings amending [jurisdiction] Municipal/County Code Section [xxx] to require that certain additions and alterations in single family homes, duplexes and townhomes must include certain energy measures, including cool roofs and electric readiness, as part of their project. [Edit as needed]

BACKGROUND

[Include local policy that is relevant in this section. Some common examples are Climate Action Plans, legislation, Council climate action goals, commission findings, mayoral direction, local referenda, or any other reason a reach code was pursued by this jurisdiction].

A suite of adopted City Council policies supports the staff recommendation to adopt the [use policy reference/description in subject line] for existing single-family residential buildings. A select summary of this policy context is below:

- XXXXXXX

- XXXXXXX

- XXXXXXX

The proposed ordinance would amend the 2025 California Energy Code, Title 24, Part 6, as adopted and codified under [cite local code sections]. The proposed amendments to the California Energy Code are authorized under exceptions to Health and Safety Code Section 17958 which otherwise prohibits local amendments to the California Building Code which affect residential buildings. Specifically, these amendments are…

[Edit as needed and provide supporting evidence]

…necessary to align with a general plan approved on or before June 10, 2025, and that permits mixed-fuel residential construction consistent with federal law while also incentivizing all-electric construction as part of an adopted greenhouse gas emissions reduction strategy.

…substantially equivalent to changes or modifications that were previously filed by the governing body and were in effect as of September 30, 2025.

State law requires that any local energy standards related to building energy performance are cost effective and will require buildings to be designed to use less energy than the state requirements. The California Energy Commission (CEC) requires the local agency to make such findings at a regular public meeting.

A 2022 code cycle study and an update of that study to apply to the 2025 code cycle, both commissioned by the California Codes and Standard Program (see Attachments B and C), have found that there is at least one compliance pathway for the energy standards that is cost effective and that these standards will result in lower energy consumption than the state code.

The studies examine cost effectiveness using two metrics. “On-bill” cost effectiveness refers to the direct cost experienced by the homeowner. A measure that’s cost effective “on-bill” results in energy bill savings in excess of the measure cost over its expected lifetime. The other approach is “Long-Term Systemwide Cost” (LSC), the methodology used by the Energy Commission in developing the state code. The LSC metric includes the individual measure costs and savings, as well as larger system infrastructure costs such as generation, transmission and distribution, and the impacts of climate change. For CEC approval, a local amendment to the California Energy Code must show a compliance pathway that is either “On-bill” or LSC cost effective. The proposed policy can be cost effectively met under both the “on-bill” and LSC metric. [Edit as needed]

DISCUSSION

Proposed Policy

The proposed ordinance would apply to certain projects in single-family homes, duplexes, and townhomes and would require the following: [Edit as needed]

- Energy Efficiency Renovations Policy (FlexPath) - Major additions and alterations (as further defined herein) will need to include certain energy efficiency measures as part of the project;

- Cool Roof Policy - Roof replacements involving 50% or more of the roof area will need to meet higher cool roof standards; and

- Electric-Ready Policy - Certain alterations and additions will need to make gas appliances ready for conversion to electric appliances.

Energy Efficiency Renovations Policy (FlexPath)

The policy would require that single-family residential major additions and alterations include certain energy efficiency, renewable energy, or electrification measures.

Applicability

Staff reviewed construction and compliance measure cost estimates, previously submitted building permits, and examples from the other existing building energy reach codes to identify the appropriate applicability for buildings in [Jurisdiction]. Based on cost of construction and compliance and in seeking to adopt a policy that effectively fits into major construction projects, staff propose that the policy apply to Covered Single Family Projects, as defined below as thresholds for applicability:

- [insert a description or definition of Covered Single Family Project]

The types of projects that would be applicable under the definition proposed above would be elective major construction projects, would require a building permit and would be required to comply with state and local codes. As such, depending on the project scope, applicants may already have an architect, engineer, or energy code compliance expert on their design team.

Compliance Requirements

As proposed, Covered Single Family Projects, would have to complete both [as applicable] of the requirements below.

[Edit as needed]

- Requirement 1 – Install all mandatory measures, including:

  - Upgrade all internal and external screw-in lighting to high-efficiency lighting (such as LEDs) and upgrade external fixtures to include photocells or timers so that they are not operated during the daytime.

  - [as applicable] Insulate all accessible hot water pipes with pipe insulation including the supply pipe leaving the water heater, piping to faucets underneath sinks, and accessible pipes in attic spaces or crawlspaces, and upgrade fittings in sinks and showers.

- Requirement 2 – Any combination of energy-related measures from Table 1 (below) totaling X or more points. Refer to the ordinance for measure specifications.

Table 1. Measures

Use the Cost Effectiveness Explorer tool to develop the measure table and target score

|  | Measures | Building Vintage |  |  |
| --- | --- | --- | --- | --- |
|  |  | Pre-1978 | 1978-1991 | 1992-2010 |
| E1 | Lighting Measures | Mandatory |  |  |
| E2 | Water Heating Package |  |  |  |
| E3 | Air Sealing |  |  |  |
| E4.A | R-38 Attic Insulation |  |  |  |
| E4.B | R-49 Attic Insulation |  |  |  |
| E5 | Duct Sealing |  |  |  |
| E6.A | New Ducts, R-6 Insulation + Duct Sealing |  |  |  |
| E6.B | New Ducts, R-8 Insulation + Duct Sealing |  |  |  |
| E7 | Windows |  |  |  |
| E8 | R-15 Wall Insulation |  |  |  |
| E10.A | R-19 Raised floor insulation |  |  |  |
| E10.B | R-30 Raised floor insulation |  |  |  |
| E10 | Cool Roof |  |  |  |
| E11 | Radiant Barrier Under Roof |  |  |  |
| FS1 | Heat Pump Water Heater Replacing Gas |  |  |  |
| FS2 | High Eff. Heat Pump Water Heater Replacing Gas |  |  |  |
| FS3 | Heat Pump Water Heater Replacing Electric |  |  |  |
| FS4 | High Eff. Heat Pump Water Heater Replacing Electric |  |  |  |
| FS5 | Heat Pump Space Conditioning System |  |  |  |
| FS6 | High Eff. Heat Pump Space Conditioning System |  |  |  |
| FS7 | Dual Fuel Heat Pump Space Conditioning System |  |  |  |
| FS8 | Heat Pump Clothes Dryer |  |  |  |
| FS9 | Induction Cooktop |  |  |  |
| PV | Solar PV and/or Electric Readiness |  |  |  |

Exemptions

To accommodate the wide variability in existing buildings, staff proposes the exemptions below. Refer to the ordinance for details.

[Edit as needed]

- Emergency housing, and ADU conversions pursuant to Government Code 66323

- Mobile homes, manufactured housing, or factory-built housing

- Repairs, hazard mitigation or limited improvements, such as windows

- Technical or economic infeasibility

- Covenant restrictions, historic buildings

- Economic hardship

- Vintages 1992 and later

Cost Effectiveness

Compliance with the proposed policy can be achieved in a variety of ways. As noted earlier, there is at least one compliance pathway that is cost-effective. The table below presents examples of packages of measures that could be used to comply with the ordinance.

[Using the Cost Effectiveness Explorer, identify examples for different vintages; include some with electrification measures and some with efficiency and PV.]

| Measures | Score | GHG Reductions (%) | Cost |
| --- | --- | --- | --- |
| Pre-1978 Package 1 - [list measures] | X | XX% | $X,XXX |
| Pre-1978 Package 2 - [list measures] | X | XX% | $X,XXX |
| 1978-1991: Package 1 - [list measures] | X | XX% | $X,XXX |
| 1978-1991: Package 2 - [list measures] | X | XX% | $X,XXX |
| 1992-2010: Package 1 - [list measures] | X | XX% | $X,XXX |
| 1992-2010: Package 2 - [list measures] | X | XX% | $X,XXX |

Cool Roof Policy

[Applicable to certain climate zones and vintages only; check Cost Effectiveness Explorer for details].

When 50% or more of a steep-sloped roof is replaced in homes built before [specify vintages as applicable], the new roof must have an aged solar reflectance value of 0.25 or greater. The California Energy Code [CZs 4, 8-15: requires 0.20 aged solar reflectance; CZs 1-3, 5, 6, 16: does not require cool roofs] in this climate. [CZs 4, 6-15: Flat roofs must already meet higher requirements under the California Energy Code.] The incremental cost for a typical home is estimated to be less than $2,000.

Electric-Ready Policy

The 2025 California Energy Code requires the construction of new mixed-fuel single family buildings to include “electric ready” components, including electric outlets near natural gas appliances (clothes dryers, cooktops, furnaces, and water heaters) and reserved and labeled breakers in the electrical panel for future electric appliances. However, the current code does not require electric-ready components for renovations, remodels, and additions. The proposed policy would require installation of electric-ready components when electrical work that requires a permit is performed near existing gas equipment, [Edit as needed: or when claiming credit for a pre-existing solar PV system under the energy efficiency renovations policy]. These requirements include:

- Gas Range and Gas Clothes Dryer - Installing wiring capable of serving an electric appliance and reserving electrical breaker space for future electric appliance(s).

- Gas Water Heater - Installing wiring capable of serving an electric appliance, a pathway for a condensate drain, and reserving physical space reserved for a future heat pump water heater.

- Gas Line Extensions for Outdoor Gas Appliances - Installing electrical conduit in trenches and reserving physical space and electrical breaker space for future electric appliance(s).

- Optimized Electrical Panel Capacity – Limiting electrical panel upgrades to the appropriate size by calculating the required load assuming either a power controlling device or a low-power version of an electric water heater, clothes dryer, or cooktop.

Exceptions:

[Edit as needed]

- Repairs and safety improvements and projects where an electrical permit is not otherwise required

- Mobile homes, manufactured housing, factory-built housing

- Emergency housing

- ADUs conversions pursuant to Government Code 66323

Measure Costs

Intervening during a related electrical project provides an opportunity to save money in the future by including electrical infrastructure when there is already a contractor on site and there is already some demolition happening. Below are cost estimates for typical electric infrastructure installation costs:

- Reserving breaker space: $0-$50

- Running a new dedicated circuit: Up to $1,000 per circuit

- Adding conduit: Up to $1,000

PUBLIC ENGAGEMENT

Staff have conducted the following outreach:

[Summarize public outreach and engagement activities.]

POLICY IMPLEMENTATION CONSIDERATIONS

The policy would be implemented via an additional/modified intake form required at time of building permit submittal. Building staff would review the application for consistency with the policy and field verification would happen as part of the typical inspection process.

Some of the compliance measures have rebates and incentives associated with them that could substantially reduce the cost of compliance. Financial resources and technical assistance include:

[Add any incentives that are available locally or regionally]

Schedule and Next Steps

Should Council approve staff’s recommendations, work would proceed on the timeline provided in Table 2 below.

Table 2. Schedule and Next Steps

| Task | Timeframe |
| --- | --- |
| Second reading of the draft Ordinance (Attachment A) and submittal to the California Energy Commission and California Building Standards Commission |  |
| Develop implementation forms, training, and help desk services |  |
| Receive approval from the California Energy Commission and California Building Standards Commission approves for filing |  |
| Policy goes into effect | No sooner than 1/1/26 |

ENVIRONMENTAL REVIEW

[This text should be prepared by qualified staff and should read the same as the ordinance. Two samples are provided below. Edit as needed]

Staff’s recommendations are found to be exempt from CEQA under the general rule, 15061(b)(3), because it can be seen with certainty that the provisions contained herein would not have the potential for causing a significant effect on the environment. Further, this ordinance is also exempt from CEQA under the categorical exemptions in Section 15308 of the CEQA Guidelines in that the proposed ordinance would institute regulatory requirements intended to protect the environment and natural resources.

This ordinance is exempt from CEQA under 15061(b)(3) on the grounds that these standards are more stringent than the State energy standards, there are no reasonably foreseeable adverse impacts and there is no possibility that the activity in question may have a significant effect on the environment.

ALTERNATIVES

Include alternatives that were considered.

- XXXXXX

- XXXXXX

- XXXXXX

ATTACHMENTS

[Edit as needed]

- Ordinance Adopting the [Policy name]

- 2022 Cost-Effectiveness Study: Existing Single Family Building Upgrades

- Application of 2022 Studies to the 2025 Energy Code: Existing Single Family Upgrades

- Cost Effectiveness Evidence [download from the Cost Effectiveness Explorer]

- Ordinance Showing Markup of State Energy Code